## Parameters
Date | 2001-06-14
2001-06-14
Experiment No. | 2001-06-14
Investigator | M.Lenarczyk
Cell Line | V79
Modifier | none
Radionuclide | H-3
Half-life (days) | 4500.45 | I-125=59.408, H-3=4500.45, Po-210=138.376, I-131=8.02
Radiation Yield | 1 | I-125=1.47, H-3=1.0, Po-210=1.0, I-131=8.02
Radiochemical | 3HTdR
Manufacturer/Lot | NCN/3106-398
Original Calibration Date/Time | 05/30/01/ 12:00 | Original Activity Concentration (MBq/ml) | 37
Present Calibration Date/Time | 2001-06-14 | Time Elapsed Since Original Calibration (d) | 15
Fraction of Cells Labeled | 0.5 | Present Activity Concentration (MBq/ml) | 36.9146
Liquid Scintillation Cocktail | EcoLume
Volume of LSC Cocktail (ml) | 6
Volume/Type Counting Vial | 7/Plastic vial with cup
Model of Counter | Beckman LS5000TD
Counting Efficiency | 0.65
Activity Added (Date/Time) | June 14, 2001/ 19:30
Cells Washed (Date/Time) | June 15, 2001/ 9:30 | Time Elapsed Between Add and Wash (hr) | 14
Medium Tubes Counted (Date/Time) | June 19, 2001/ 9:48 | Time Elapsed Between Add and Count (hr) | 110
Cell Tubes Counted (Date/Time) | June 19, 2001/ 10:17 | Time Elapsed Between Wash and Count (hr) | 110.5
Vol. Supernatant Counted (ml) | 30
Vol. Suspension Counted Cell Activity (ml) | 100
Vol. Suspension Coulter (ml) | 100
Coulter Manometer Volume (ml) | 500 |  |  | Background
Average Coulter Background Counts | 5 |  | Coulter 1 | Coulter 2 | Coulter 3
Coulter Calibration Parameter | 400 |  | 5 | 5 | 5
Hemocytometer Counting (Yes or No)?

## CoulterSurvival
Experiment: |  | 37056
Date/Time: |  | 2001-06-14
Tube # |  | Coulter count |  | Average | Cells/ml |  | Hemocytometer Count in Grid
| 1st | 2nd | 3rd |  |  | 1st | 2nd | 3rd | 4th
1 | 9698 | 9493 | 9590 | 9593.6667 | 3835466.6667
2 | 9431 | 9585 | 9579 | 9531.6667 | 3810666.6667
3 | 8615 | 8504 | 8509 | 8542.6667 | 3415066.6667
4 | 7846 | 7901 | 7781 | 7842.6667 | 3135066.6667
5 | 8421 | 8249 | 8343 | 8337.6667 | 3333066.6667
6 | 6623 | 6463 | 6314 | 6466.6667 | 2584666.6667
7 | 6725 | 6757 | 6703 | 6728.3333 | 2689333.3333
8 | 6821 | 6891 | 6741 | 6817.6667 | 2725066.6667
9 | 6277 | 6426 | 6108 | 6270.3333 | 2506133.3333
10 | 6437 | 6187 | 6240 | 6288 | 2513200
Tube # | Predicted | Actual |  | Colony count |  | Average | PE (%) | SF | SF
| # Cells | # Cells | 1st | 2nd | 3rd |  |  | Uncorrected | Corrected
| Seeded | Seeded
1 | 200 | 383.5467 | 96 | 104 |  | 111.4 | 29.1389 | 1 | 1
2 | 200 | 381.0667 | 125 | 116 | 116
3 | 200 | 341.5067 | 68 | 70 | 82 | 73.3333 | 21.4735 | 0.65829 | 0.73693
4 | 200 | 313.5067 | 53 | 58 | 51 | 54 | 17.2245 | 0.48474 | 0.59112
5 | 200 | 333.3067 | 57 | 72 | 64 | 64.3333 | 19.3015 | 0.5775 | 0.6624
6 | 200 | 258.4667 | 60 | 59 | 51 | 56.6667 | 21.9242 | 0.50868 | 0.7524
7 | 200 | 268.9333 | 51 | 51 | 57 | 53 | 19.7075 | 0.47576 | 0.67633
8 | 200 | 272.5067 | 62 | 60 | 68 | 63.3333 | 23.241 | 0.56852 | 0.79759
9 | 200 | 250.6133 | 72 | 60 | 48 | 60 | 23.9413 | 0.5386 | 0.82163
10 | 200 | 251.32 | 52 | 59 | 57 | 56 | 22.2823 | 0.50269 | 0.76469

## MediumActivity
Experiment: |  | 37056
Date: |  | 2001-06-14
Tube # |  | Medium count |  | CPM | CPM | DPM | At | Ao | Ao
|  | (CPM) |  | Average | corrected | CPM/(y e) | mCi/ml on | mCi/ml at | kBq/ml at
| 1st | 2nd | 3rd |  | for control |  | counting | addition | addition
[At/e-0.693t/T]
1 | 10 | 14 | 18 | 15.3333 | 0 | 0 | 0 | 0 | 0
2 | 19 | 12 | 19 |  | 0 | 0 | 0 | 0 | 0
3 | 221726 | 216346 | 211766 | 216612.6667 | 216597.3333 | 333226.6667 | 5.0034 | 5.0069 | 185.2566
4 | 438733 | 429230 | 419613 | 429192 | 429176.6667 | 660271.7949 | 9.914 | 9.921 | 367.0766
5 | 661493 | 580293 | 623220 | 621668.6667 | 621653.3333 | 956389.7436 | 14.3602 | 14.3703 | 531.7028
6 | 846619 | 841413 | 813926 | 833986 | 833970.6667 | 1283031.7949 | 19.2647 | 19.2783 | 713.2987
7 |  | 1253153 | 1353546 | 1303349.5 | 1303334.1667 | 2005129.4872 | 30.107 | 30.1283 | 1114.7473
8 | 1343300 | 1300600 | 1281253 | 1308384.3333 | 1308369 | 2012875.3846 | 30.2234 | 30.2447 | 1119.0536
9 | 1504146 | 1523706 | 1570580 | 1532810.6667 | 1532795.3333 | 2358146.6667 | 35.4076 | 35.4326 | 1311.0064
10 | 1899833 | 1742913 | 1848446 | 1830397.3333 | 1830382 | 2815972.3077 | 42.2819 | 42.3117 | 1565.5336

## CellSuspension
Experiment: |  | 37056
Date: |  | 2001-06-14
Tube # |  | Suspension count |  | CPM | CPM | DPM | At | Ao | Ao
|  | (CPM) |  | Average | corrected | CPM/(y e) | mCi/ml on | mCi/ml after | kBq/ml after
| 1st | 2nd | 3rd |  | for control |  | counting | uptake | uptake
1 | 5 | 10 | 2 | 8 | 0 | 0 | 0 | 0 | 0
2 | 11 | 11 | 9 |  | 0 | 0 | 0 | 0 | 0
3 | 23268 | 24764 | 25635 | 24555.6667 | 24547.6667 | 37765.641 | 0.17012 | 0.17024 | 6.2987
4 | 46436 | 49500 | 47128 | 47688 | 47680 | 73353.8462 | 0.33042 | 0.33066 | 12.2343
5 | 46692 | 67293 | 56260 | 56748.3333 | 56740.3333 | 87292.8205 | 0.39321 | 0.39349 | 14.5591
6 | 61755 | 60745 | 70580 | 64360 | 64352 | 99003.0769 | 0.44596 | 0.44628 | 16.5122
7 | 144820 |  | 120999 | 132909.5 | 132901.5 | 204463.8462 | 0.92101 | 0.92166 | 34.1015
8 | 108246 | 111699 | 120993 | 113646 | 113638 | 174827.6923 | 0.78751 | 0.78807 | 29.1586
9 | 129450 |  | 126733 | 128091.5 | 128083.5 | 197051.5385 | 0.88762 | 0.88825 | 32.8652
10 | 163573 |  | 169586 | 166579.5 | 166571.5 | 256263.8462 | 1.1543 | 1.1552 | 42.7409

## Summary
Experiment:
Date/Time: |  | 2001-06-14
Tube # | Activity Conc. | Activity/Cell | Survival | Survival
| (kBq/ml) | (mBq/cell) | Uncorrected | Corrected
1 | 0 | 0 | 1 | 1
2 | 0 | 0
3 | 185.2566 | 3.6888 | 0.65829 | 0.73693
4 | 367.0766 | 7.8048 | 0.48474 | 0.59112
5 | 531.7028 | 8.7362 | 0.5775 | 0.6624
6 | 713.2987 | 12.7771 | 0.50868 | 0.7524
7 | 1114.7473 | 25.3605 | 0.47576 | 0.67633
8 | 1119.0536 | 21.4003 | 0.56852 | 0.79759
9 | 1311.0064 | 26.2278 | 0.5386 | 0.82163
10 | 1565.5336 | 34.0132 | 0.50269 | 0.76469

## Unprotected Summary
Experiment:
Date/Time: |  | 2001-06-14
Tube # | Activity Conc. | Activity/Cell | Survival | Survival
| (kBq/ml) | (mBq/cell) | Uncorrected | Corrected
1 | 0 | 0 | 1 | 1
2 | 0 | 0
3 | 185.2566 | 3.6888 | 0.65829 | 0.73693
4 | 367.0766 | 7.8048 | 0.48474 | 0.59112
5 | 531.7028 | 8.7362 | 0.5775 | 0.6624
6 | 713.2987 | 12.7771 | 0.50868 | 0.7524
7 | 1114.7473 | 25.3605 | 0.47576 | 0.67633
8 | 1119.0536 | 21.4003 | 0.56852 | 0.79759
9 | 1311.0064 | 26.2278 | 0.5386 | 0.82163
10 | 1565.5336 | 34.0132 | 0.50269 | 0.76469
1
2
3
4
5
6
7
8
9
10